Xclear Flex Inox UV-C

The Flex UV-C is an excellent solution when multiple flexible installation options are required.

• Multiple installation options thanks to the connection options.

• Including 63mm PVC connection fittings with adaptors to 50mm/1½” fem. threading.

• Including hose connectors 1½” – 40/32/25mm.

• The length of the disinfection system is only 85cm.

| Item No. | Type | UV-C Lamp | Pond volume | Max. flow | Max. Press. |
| --- | --- | --- | --- | --- | --- |
| XE4402.1 | Flex INOX UV-C 40 W | 40 W T5 | 40.000 l | 20 m3/h – 330 l/min | 2 bar |
| XE04752.1 | Flex INOX UV-C 75 W | 75 W T5 | 75.000 l | 25 m3/h – 417 l/min | 2 bar |

Flex Inox UV-C Spare parts

| Item No. | Type | Part |
| --- | --- | --- |
| XE04402.1 | Flex INOX UV-C 40 W |  |
| XE04752. | 1 Flex INOX UV-C 75 W |  |
| F980078BU | Lamp VGE T5 40 W 4P Base F(bu) | K |
| F980079BU | Lamp VGE T5 75 W 4P Base G | K |
| QG017 | Quartz Glass VSC 695 x 25 mm 40/75 W AM | M |
| 3902041 | O-ring NBR 56x3 | P |
| EP040012 | Electrics UV-C 40 W | L |
| EP075017 | Electrics UV-C 75 W | L |
| H170009 | Housing Black UV-C 40/75 W RVS 304 | H |
| E800940 | 3-way connection 63 mm black | I |
| E800941 | O-ring for 3-way connection 63 mm | G |
| F990115 | Reduction piece 1,5" wire x 63 out 50 in | F |
| 3902046 | Sealing ring 1½" | J |
| E801128 | Universal adaptor 1½" 40 x 32 x 25 mm clear | N |
| E801107 | Tube clip 75 mm PP Black | O |
| F990196BU | Closing lid Flex UV-C | R |
| 3901045 | Nut 70mm x 33.5mm black | S |
| SP0073 | O-ring EPDM 59.99x2.62 Quartz Glass Stabilizer End cap black 32mm | Q |