IMMERSION UV-C

Submersible UV-C lamps have a big advantage compared to conventional UV-C units: no pressure loss.

• These lamps can be used in filter tanks so the water can pass without any resistance/pressure loss.

• The plastic end of the lamp has a 32mm diameter so you can use 32mm pipe clips to mount the lamp in a tank.

• A special tank connector is available for direct installation in i.e. filters (see picture).

NOTE:

• This product is only intended for professional use.

• It should be installed in a professional application or assembled with other appliances.

• Before using this product the installer/user must take care that the product complies to the latest

local applying standards for UV-C units.

| Item No. | Type | UV-C Lamp |
| --- | --- | --- |
| XP01402 | Immersion UV-C 40 W | 40 W T5 |
| XP01752 | Immersion UV-C 75 W | 75 W T5 |
| XP01402.1 | Immersion UV-C 40 W Amalgam | 40 W Amalgam T5 |
| XP01802 | Immersion UV-C 80 W Amalgam | 80 W Amalgam T5 |
| 7201269 | Tank connector 1½" | - |

IMMERSION UV-C SPARE PARTS

| Item No. | Type | Part |
| --- | --- | --- |
| XP01402 | Xclear Immersion UV-C 40 W |  |
| XP01752 | Xclear Immersion UV-C 75 W |  |
| XP01402.1 | Xclear Immersion UV-C 40 W amalgam |  |
| XP01802 | Xclear Immersion UV-C 80 W amalgam |  |
| F980078BU | Lamp VGE T5 40 W 4P Base F(bu) | C |
| F980079BU | Lamp VGE T5 75 W 4P Base G | C |
| 4800070AM | Lamp VGE Lighttech T5 40 W Amalgaam Base C | C |
| 4800082AM | Lamp VGE Lighttech T5 80 W Amalgaam Base C | C |
| 3100837 | Quartz Glass Immersion 679 x 25 mm 40/75 W AM | D |
| 3100847 | Quartz Glass Immersion 384 x 25 mm 40 W Amalgam AM | D |
| 3100835 | Electrics Immersion UV-C 40 W | E |
| 3100836 | Electrics Immersion UV-C 75 W | E |
| 3100842 | Electrics Immersion UV-C 40/80 W Amalgam | E |
| 3900684 | External threaded socket for quartz glass Immersion | H |
| 7201269 | Tank connector 1/2'' | H |