INOX UV-C

The Inox UV-C disinfection system is the driving force for large (professional) pond installations.

• Ability to keep large ponds free of algae, bacteria and fungi.

• Designed to connect easily in large (professional) filter installations.

• Full 316L stainless steel body for maximum performance and durability.

• Equipped with a high quality Philips UV-C lamp.

• Including a flow switch to switch off the lamp when there is insufficient water flow.

• Generates a constant, powerful radiation.

• Integrated timer accurately monitors the number of operating hours.

• Lamp replacement indication.

• The length of the disinfection system is 100cm.

• 114mm diameter.

• 2” male threaded connections.

| Item No. | Type | UV-C Lamp | Pond volume | Max. flow | Max. Press. |
| --- | --- | --- | --- | --- | --- |
| XP02752 | Inox UV-C 75 W | 75 W T5 | 75.000 l | 20 m3/h 330 l/min | 5 bar |
| XP02132 | Inox UV-C 130 W | 130 W T6 Amalgam | 130.000 l | 40 m3/h 660 l/min | 5 bar |

INOX UV-C SPARE PARTS

| Item No. | Type | Part |
| --- | --- | --- |
| XP02752 | Xclear INOX UV-C 75 W |  |
| XP02132 | Xclear INOX UV-C 130 W Amalgam |  |
| E800902P | Lamp Philips TUV 36T5 75 W HO 4P-SE Base C AM | A |
| E800904 | Lamp Philips TUV XPT 130 W 4P-SE Amalgaam Base E | A |
| QG015 | Quartz Glass VSC 933 x 25 mm 40/75/80 W AM | C |
| QG012 | Quartz Glass VSC 920 x 30 mm 130 / 140 W AM | C |
| E800912 | Set (3pcs) O-ring for quartz glass | B |
| EP075005.1 | Electrics Inox UV-C 75 W Xclear | G |
| EP130004.1 | Electrics Inox UV-C Amalgam Xclear | G |
| B212002 | Housing for Inox UV-C 75 / 130 W | H |
| B290020 | Reduction piece 63/63 3/4" wire for flow switch Amalgam | I |
| B290021 | Reduction piece 60,5/60,5 3/4" wire for flow switch Amalgam | I |
| E801220 | Flow switch complete | L |

| *Optional |  |  |
| --- | --- | --- |
| B290177 | Tapping saddle 50x3/4" male thread for flow switch | V |
| B290170 | Tapping saddle 63x3/4" male thread for flow switch | V |
| B290176 | Tapping saddle 75x3/4" male thread for flow switch | V |