MODULE UV-C

The Module UV-C is our latest addition of UV-C disinfection systems with one big advantage: no pressure loss.

• These lamps can be used in filter tanks so the water can pass without any resistance/pressure loss.

• The unit is very easy to install.

• The transparant lamphead makes it easy to see if the lamp is turned on or off.

• A special tank connector is available for direct installation in i.e. filters (see picture).

• The Signal control unit comes with a visual indication when to replace the lamp.

NOTE:

• This product is only intended for professional use.

• It should be installed in a professional application or assembled with other appliances.

• Before using this product the installer/user must take care that the product complies to the latest local applying standards for UV-C units.

• There are two choices for control units

| Item No. | Type | UV-C Lamp |
| --- | --- | --- |
| XP08402 | Xclear Module UV-C 40 W Amalgam | 40 W Amalgam |
| XP08802 | Xclear Module UV-C 80 W Amalgam | 80 W Amalgam |
| XP09402 | Xclear Module UV-C 40 W Amalgam Signal | 40 W Amalgam |
| XP09802 | Xclear Module UV-C 80 W Amalgam Signal | 80 W Amalgam |

MODULE UV-C SPARE PARTS

| Item No. | Type | Part |
| --- | --- | --- |
| XP08402 | Xclear Module UV-C 40 W Amalgam |  |
| XP08802 | Xclear Module UV-C 80 W Amalgam |  |
| XP09402 | Xclear Module UV-C 40 W Amalgam Signal |  |
| XP09802 | Xclear Module UV-C 80 W Amalgam Signal |  |
| EP080013 | Electrics for Xclear Module UV-C 40/80 W Amalgam | A |
| EP080012 | Electrics for Xclear Module UV-C 40/80 W Amalgam Signal | B |
| 3903110 | Lamp VGE T5 40 W Amalgam Base C | C |
| 3903111 | Lamp VGE T5 80 W Amalgam Base C | C |
| QG104 | Quartz Glass VSC 667 x 25 mm 80 W AM | D |
| QG018 | Quartz Glass VSC 400 x 25 mm 40 W AM | D |
| 3902041 | O-ring 56 x 3 | E |
| F990713 | Feed-through adapter | F |
| 7107813 | Counter nut black | G |
| 3902046 | Flat gasket | H |