XCLEAR POND UV-C 42W

The Xclear Pond UV-C 42 W is a stand-up pond-UV especially made for above ground and basic inground ponds. A plug and play concept that is powerful, affordable, and easy to install. Now literally áll pond owners can enjoy safe and healthy pondwater sustained by our UV-C technology.

| Item No. | Type | UV-C Lamp | Pond volume | Max. flow | Max. Press. |
| --- | --- | --- | --- | --- | --- |
| XE09422 | Xclear Pond UV-C 42W | 42 W | 42,000 l | 15 m3/h - 250 l/min | 1 bar |

XCLEAR POND UV-C 42W SPARE PARTS

| Item No. | Type | Part |
| --- | --- | --- |
| 3903114AM | Lamp VGE T5 42W Base Y AM Packed | A |
| QG129 | Quartz Glass VSC 478 x 25 mm AM | B |
| E800912 | O-Ring for quartz sleeve (3 pieces) | C |
| SP0080 | Electrics for Xclear Pond UV-C 42 W | D |
| SP0078 | Reduction piece 63mm out 50mm (2 pieces) + O-Ring for 3-way connection (2 pieces) | F |
| SP0086 | 2 x Black nut + sealing rings | K |
| SP0077 | 2 x hose adaptor flanged 65mm 38/32 + sealing rings Xclear Pond UV-C | Z |