XCLEAR PROFESSIONAL UV-C Ø110

The Professional UV-C is the best solution to reduce head pressure losses.

• 110mm connections.

• 110mm diameter stainless steel body for maximum durability.

• Ideal for gravity systems.

• Ideal in combination with low pressure pumps.

• Available with a Philips T5 or T6 amalgam lamp for optimal performance.

• 130 W amalgam has a flow switch to switch off the lamp when there is no water flow.

| Item No. | Type | UV-C Lamp | Pond volume | Max. flow | Max. Press. |
| --- | --- | --- | --- | --- | --- |
| XH07752 | Professional UV-C Ø110 75 W | 75 W T5 | 75.000 l | 20 m3/h – 330 l/min | 2 bar |
| XH07132 | Professional UV-C Ø110 130 W | 130 W T6 Amalgam | 130.000 l | 40 m3/h – 660 l/min | 2 bar |

PROFESSIONAL UV-C Ø110 SPARE PARTS

| Item No. | Type | Part |
| --- | --- | --- |
| XH07752 | Xclear Professional UV-C Ø 110 T5 75 W |  |
| XH07132 | Xclear Professional UV-C Ø 110 Amalgam 130 W 1 |  |
| E800902P | Lamp Philips TUV 36T5 75 W HO 4P-SE Base C AM | A |
| E800904 | Lamp Philips TUV XPT 130 W 4P-SE Amalgaam Base E | A |
| QG015 | Quartz Glass VSC 933 x 25 mm 40/75/80 W AM | C |
| QG012 | Quartz Glass VSC 920 x 30 mm 130 / 140 W AM | C |
| 3902041 | O-Ring 56 x 3 mm UV-C | D |
| EP075002 | Electrics Jumbo UV-C 75 W | G |
| EP130001 | Electrics 130 W Amalgam UV-C + flow switch | G |
| 3903671 | Housing Professional UV-C Ø110 75 W T5 | H |
| 3903672 | Housing Professional UV-C Ø110 130 W Amalgam | H |
| F990107 | End cap with lamp retainer 32 mm | F |
| B290020 | Reduction piece 63/63 for flow switch | I |
| E801220 | Flow Switch for 130 W Amalgam | P |
| 4800079 | Replacement for housing 130 W Amalgam | - |
| E801146 | Mounting bracket 110 mm black | K |
| *Optional |  |  |
| B290177 | Tapping saddle 50x3/4" male thread for flow switch | V |
| B290170 | Tapping saddle 63x3/4" male thread for flow switch | V |
| B290176 | Tapping saddle 75x3/4" male thread for flow switch | V |