XCLEAR PROFIHEATER

The Xclear ProfiHeater is a professional stainless steel pond heater.

To raise the temperature of 1m³ water in 1 hour by 1°C requires about 1.000 kcal. This formula is only an indication, as the temperature also depends on surface area and any insulation  that may be present. All models have been fitted with an adjustable thermostat that can be regulated up to 40°C. The heating element with the temperature probe, as well as the inside of the casing are made of high-quality stainless steel. ProfiHeaters can be connected using pond tubing or PVC tubing. Including fittings. It is advised to use a flow switch to prevent overheating of the unit at insufficient water flow.

| Item No. | Type | Consumption | Max. Flow | Pond size |
| --- | --- | --- | --- | --- |
| 6900455 | ProfiHeater 1 kW (860 kcal/h) | 1000 W | 20 m3/h 330 l/min | 5.000 l |
| 6900456 | ProfiHeater 2 kW (1720 kcal/h) | 2000 W | 20 m3/h 330 l/min | 10.000 l |
| 6900457 | ProfiHeater 3 kW (2580 kcal/h) | 3000 W | 20 m3/h 330 l/min | 15.000 l |