VGE UV-C Lamps

Besides the lamps used in Blue Lagoon products, VGE offers different replacement lamps. Below you find the different lamp types that VGE B.V. uses in her products. Furthermore you can find an overview of the lamps that can be bought for replacement next to the Blue Lagoon replacement lamps. For the professional market it is also possible to deliver special high quality lamps with a higher wattage. For example lamps of 325 and 400 W. Please contact us by e-mail: info@vgebv.nl for the actual prices and delivery times.

PL-S lamps are compact UV-C (germicidal) lamps used in residential water and air disinfection units. The compact size of the lamp allows for a small system design and design flexibility.

PL-L lamps are compact UV-C (germicidal) lamps used in water and air disinfection units. The compact size of the lamp allows for a small system design and design flexibility.

TL Mini lamps are slim double-ended UV-C (germicidal) lamps used in residential water and air disinfection units. The small 16 mm diameter of the lamp allows for a small system design and design flexibility.

TL lamps (T8) are double-ended UV-C (germicidal) lamps used in professional air disinfection units. Moreover, they have a long and reliable lifetime, which allows maintenance to be planned for in advance.

T5 lamps are single ended UV-C (germicidal) lamps used in professional water and air disinfection units. The small 16 mm diameter of the lamp allows for a small system design and design flexibility.

The Philips Smart Cap technology is an innovative development for optimal safety! The lamp base and the fitting, that goes into the housing of the lamp, are both provided with a safety switch. As soon as the lamp is taken out of the housing, the power supply is interrupted causing the lamp to switch off.

T6 are single-sided UV-C (germicidal) lamps that are used in professional water and air disinfection devices. The diameter of the lamp of 19 mm allows a small system design and flexibility in design. The T6 is mainly used in the amalgam version.

VGE Smart Pin Technology (S.P.T.) makes it possible to replace the lamp safely, while the system remains filled with water. If the lamp is not turned off during the replacement, it will switch off automatically as soon as it is removed from the socket.

SBT lamps The lamp base is equipped with a bayonet technology closure. The lamp itself is single-ended which not only makes it easy to install and replace but also requires service space at only one side of the irradiation chamber.

Blue Lagoon UV lamps

Each Blue Lagoon unit is equipped with a UV lamp. Depending on the system the choice of lamp has been made.

To make sure a UV-C disinfection system keeps protecting bathers against pathogens such as moulds, viruses and bacteria, it is important to replace a UV-C lamp in time. The average effective lifespan of a UV-C lamp is 9.000 hours. An amalgam lamp has a longer lifespan of approximately 16.000 hours. Although the lamp will still continue to work after this period, its disinfecting value will rapidly decline from then on. To still guarantee the health of the bathers, it is important to replace the UV-C lamp in time.